INDOOR AIR TEST RESULTS

Name of Rink: ______________________________________ 	 Town: ____________________________

| Date | Time | Carbon Monoxide (PPM) | Nitrogen Dioxide (PPM) | Air Sampling Device | Lot Numbers (if applicable) | Air Sample Location | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |
|  |  |  |  |  | CO: | Center Ice |  |
|  |  |  |  |  | NO2 : |  |  |

Indoor Air Quality Levels for Carbon Monoxide and Nitrogen Dioxide

If an air sample equals or exceeds 30 ppm for carbon monoxide or 0.5 ppm for nitrogen dioxide, you must take positive measures to decrease air concentrations of these contaminants below these standards.

If an air sample equals or exceeds 30 ppm for carbon monoxide or 0.5 ppm for nitrogen dioxide for six (6) consecutive air samples, you must notify the local fire department within one hour and the local board of health within 24 hours of sampling.

If an air sample equals or exceeds 60 ppm for carbon monoxide or 1 ppm for nitrogen dioxide, you must notify the local fire department within one hour, as well as the local board of health and within 24 hours of sampling.

If an air sample equals or exceeds 125 ppm for carbon monoxide or 2 ppm for nitrogen dioxide, YOU MUST EVACUATE THE RINK, notify the local fire department as soon as possible, the local board of health upon completion of the evacuations, and the Bureau of Environmental Health Assessment within two hours.

NOTE:  Local regulations may require different reporting levels or requirements than what is listed above and must be observed if they are present.  The above actions are only meant as a guideline in the absence of local laws.